| ## GLOSSARY |  |  |  |
| --- | --- | --- | --- |
| Baluster | Spindles on staircase/landing below handrail | Lintel | Small beam over an opening |
| Barge Board | Sloping board on gable covering ends of roof timbers | # NICEIC | National Inspection Council for Electrical installation Contracting |
| Bell-cast | Lip formed at the lower edge of render, half bell shaped | Parapet | Low wall rising above roof |
| Benching | Sloping concrete around channel in inspection chamber | Pointing | Finishing mortar to brick, stone or tile jointing |
| Bresumer | Substantial timber beam (often 2 or more beams) | Purlin | Horizontal beam supporting rafters |
| Cill (sill) | Lowest horizontal part of frame often over brick/stone sill | Rafter | Sloping timber extending from eave to ridge of roof |
| Coping | Top of wall usually overhanging to protect from ram | Render | Mortar coat applied to walls |
| CORGI | Confederation of Registered Gas installers | Underfelt | Felt laid under covering of sloping roof |
| Curtilage | Within the boundaries of the original house | Sarking | Pelt or board laid under covering of roof slope |
| Dado | Lower part of wall often formed with a rail | Sash | Opening part of window |
| Dormer window | Vertical window in roof slope with its own roof | Foul sewer | Underground pipe carrying foul waste |
| Drain cock | Cock at the lowest point for drainage of a water system | Soakaway | Generally a large pit filled with gravel to drain rainwater |
| Dry rot | Fungal decay of timber by Serpula Lacrymans. VERY DESTRUCTIVE | Soaker | Small flexible metal flashing laid in joint |
| Efflorescence | Presence of salts on surface often from dampness | Soffit | Under surface or board fitted to beam, arch, eave etc. |
| Fascia board | Vertical board at eaves to cover roof timbers and carry gutter | Soil pipe | Above ground pipe carrying sewage or waste |
| Fillet | Narrow strip of material laid in a joint to form a covering | Spalling | Detachment of exposed brick or render from wall |
| Flashing | Strip of material to cover a joint and make weathertight | Surface Water Sewer | Underground pipe carrying rainwater |
| Flaunching | Cement mortar at base of chimney pots | Stop Tap/Cock | Tap that turns off water or gas supply |
| Flue | Passage for smoke or fumes | UPVC | Unplasticised Polyvinylchloride (PVCu) |
| Gable | Triangular part of end wall of a building with sloping roof | Valley | Junction between two roof slopes |
| Galvanising | Coating of zinc on steel to prevent rusting | Vapour Barrier | Cross sheeting to prevent movement of vapour |
| Gulley | Open end of drain incorporating a water trap | Ventilating Hoods | Half round covers fitted over pots to prevent rain entering |
| Gutter | Channel for removal of rainwater | Vent Pipe | Pipe allowing air in and out of drain system |
| Hip | Edge where two roof slopes meet (and do not form a gable) | Wall Ties | Used to provide stability in cavity walls |
| Interceptor | Trap to separate house drain from sewer | Waste Pipe | Pipe carrying waste from kitchen sink/sanitary fittings |
| Joist | Horizontal beam supporting floor (or ceiling) | Wet Rot | Fungal decay of timber generally by Coniophora Cerebella |
| Lath | Base for plaster originally split wooden slats, now metal | Wood Boring Insects | A general term covering a number of species of insect whose larvae attack timber |